## Usage
Qty | Device | Volts | Amps | Watts | Hours | Days/Week | Watt hours
| Yaesu FT60r Standard Charger | 12 | 0.2 | 2.4 | 10 | 3 | 0
| Yaesu FT60r Rapid Charger | 12 | 0.9 | 10.8 | 1.5 | 3 | 0
| Yaesu FT1D/2D Rapid Charger with FNB-101LI Battery 1100mAh | 12 | 0.5 | 6 | 2.5 | 3 | 0
| Yaesu FT1D/2D Rapid Charger with FNB-102LI Battery 1800mAh | 12 | 0.5 | 6 | 4 | 3 | 0
| Yaesu FT1D/2D Rapid Charger with FNB-14LI Battery 2200mAh | 12 | 0.5 | 6 | 5 | 3 | 0
| Baofeng Charger with the Standard (1800 mAh) Battery | 10 | 0.5 | 5 | 4 | 3 | 0
| Baofeng Charger with the Extended (3400 mAh) Battery | 10 | 0.5 | 5 | 7 | 3 | 0
| Kenwood TH-D72 KSC-32 Rapid Charger with PB-45L battery | 12 | 1.35 | 16.2 | 3 | 3 | 0
| Kenwood TH-D74 standard charger with KNB-74LW battery | 12 | 0.65 | 7.8 | 5 | 3 | 0
| Kenwood TH-D74 standard charger with KNB-75LW battery | 12 | 0.65 | 7.8 | 6 | 3 | 0
| Kenwood TH-D74 KSC-25LSK Rapid Charger with KNB-74LW battery | 12 | 0.75 | 9 | 3 | 3 | 0
1 | Kenwood TH-D74 KSC-25LSK Rapid Charger with KNB-75LW battery | 12 | 0.75 | 9 | 4 | 3 | 15.4286
| Mobile Radio (Net Control 5w) |  |  | 11 | 4 | 7 | 0
| Mobile Radio (Net Control 10w) |  |  | 16 | 4 | 7 | 0
| Mobile Radio (Net Control 25w) |  |  | 26 | 4.8 | 7 | 0
| Mobile Radio (Net Control 50w) |  |  | 46 | 4 | 7 | 0
1 | Mobile Radio (Net Participant 5w) |  |  | 7 | 4 | 5 | 20
| Mobile Radio (Net Participant 10w) |  |  | 9 | 8 | 7 | 0
| Mobile Radio (Net Participant 25w) |  |  | 12 | 8 | 7 | 0
| Mobile Radio (Net Participant 50w) |  |  | 19 | 8 | 7 | 0
| Engel MT17 Fridge / Freezer @ 41° F, amb temp 77° F |  |  | 6 | 24 | 7 | 0
| Engel MT17 Fridge / Freezer @ -4° F, amb temp 77° F |  |  | 23.4 | 24 | 7 | 0
| Engel MT27 Fridge / Freezer @ 41° F, amb temp 77° F |  |  | 7.92 | 24 | 7 | 0
| Engel MT27 Fridge / Freezer @ -4° F, amb temp 77° F |  |  | 26.88 | 24 | 7 | 0
| Engel MT35 Fridge / Freezer @ 41° F, amb temp 77° F |  |  | 6 | 24 | 7 | 0
| Engel MT35 Fridge / Freezer @ -4° F, amb temp 77° F |  |  | 27.72 | 24 | 7 | 0
1 | Engel MT45 Fridge / Freezer @ 41° F, amb temp 77° F |  |  | 6.48 | 24 | 7 | 155.52
| Engel MT45 Fridge / Freezer @ -4° F, amb temp 77° F |  |  | 23.52 | 24 | 7 | 0
| Engel MT60 Fridge / Freezer @ 41° F, amb temp 77° F |  |  | 8.4 | 24 | 7 | 0
| Engel MT60 Fridge / Freezer @ -4° F, amb temp 77° F |  |  | 32.4 | 24 | 7 | 0
| Engel MT80 Fridge / Freezer @ 41° F, amb temp 77° F |  |  | 7.2 | 24 | 7 | 0
| Engel MT80 Fridge / Freezer @ -4° F, amb temp 77° F |  |  | 30 | 24 | 7 | 0
| Xtar Dragon Battery Charger - 4x 2000 mAh AA Eneloop batteries |  |  | 8 | 3 | 1 | 0
| Xtar Dragon Battery Charger - 4x 8000 mAh D Cell batteries |  |  | 11.5 | 9.5 | 1 | 0
1 | Xtar Dragon Battery Charger - 4x 3500 mAh 18650 batteries |  |  | 15 | 4.5 | 1 | 9.6429
3 | LED Lights |  |  | 10 | 3 | 7 | 90
1 | Mobile Phone Charger |  |  | 6 | 2 | 7 | 12
1 | Laptop Charger |  |  | 45 | 2 | 1 | 12.8571
1 | Samsung LCD HDTV 24" |  |  | 35 | 3 | 7 | 105
| Refrigerator (22 cu ft) |  |  | 100 | 24 | 7 | 0
| CPAP machine |  |  | 30 | 8 | 7 | 0
| AM/FM radio |  |  | 5 | 4 | 4 | 0
| Coffee Pot |  |  | 200 | 0.25 | 5 | 0
| Coffee Maker |  |  | 800 | 0.25 | 7 | 0
| Toaster |  |  | 1500 | 0.1 | 3 | 0
| Popcorn Popper |  |  | 250 | 0.1 | 1 | 0
| Blender |  |  | 300 | 0.05 | 2 | 0
| Microwave |  |  | 1500 | 0.083333 | 4 | 0
| Waffle Iron |  |  | 1200 | 0.5 | 7 | 0
| Hot Plate |  |  | 1200 | 0.5 | 7 | 0
| Frying Pan |  |  | 1200 | 1 | 7 | 0
| Dishwasher |  |  | 1500 | 1 | 3 | 0
| Garbage Disposal |  |  | 450 | 0.25 | 7 | 0
| Washing Machine |  |  | 500 | 1 | 3 | 0
| Vacuum Cleaner (Upright) |  |  | 700 | 0.5 | 1 | 0
| Vacuum Cleaner (Handheld) |  |  | 100 | 0.5 | 1 | 0
| Sewing Machine |  |  | 100 | 0.5 | 1 | 0
| Iron |  |  | 1000 | 0.5 | 3 | 0
| Clothes Dryer (Electric) |  |  | 4000 | 1 | 3 | 0
| Clothes Dryer (Gas) |  |  | 400 | 1 | 3 | 0
| Electric Heater (Portable) |  |  | 1500 |  |  | 0
| Electric Heater (Water Bed) |  |  | 400 |  |  | 0
| Electirc Heater (Fish Tank) |  |  | 100 |  |  | 0
| Furnace Blower |  |  | 1000 |  |  | 0
| Air Conditioner (Room) |  |  | 1000 | 3 | 4 | 0
| Air Conditioner (Cenrtal Air) |  |  | 5000 |  |  | 0
| Garage Door Opener |  |  | 350 | 0.05 | 5 | 0
| Ceiling Fan (AC) |  |  | 50 | 5 | 7 | 0
| Table Fan |  |  | 25 | 5 | 7 | 0
| Electric Blanket |  |  | 200 |  |  | 0
| Blow Dryer |  |  | 1000 | 0.04 | 5 | 0
| Shaver |  |  | 15 | 0.04 | 5 | 0
| Waterpick |  |  | 100 | 0.04 | 7 | 0
| Computer (Laptop) |  |  | 50 | 4 | 3 | 0
| Computer (Desktop) |  |  | 150 | 4 | 3 | 0
| Computer Printer |  |  | 100 | 0.1 | 3 | 0
| HDTV 24" |  |  | 30 | 4 | 5 | 0
| HDTV 32" |  |  | 40 | 4 | 5 | 0
| HDTV 50" |  |  | 50 | 4 | 5 | 0
| HDTV 55" |  |  | 97 | 4 | 5 | 0
| HDTV 60" |  |  | 135 | 4 | 5 | 0
| DVR |  |  | 40 | 3 | 7 | 0
| CD Player |  |  | 35 | 2 | 7 | 0
| Stereo |  |  | 30 | 2 | 7 | 0
| Clock Radio |  |  | 1 | 24 | 7 | 0
| Satellite Dish |  |  | 30 | 3 | 7 | 0
| Electric Clock |  |  | 3 | 24 | 7 | 0
| Lights (100W Incandescent) |  |  | 100 | 4 | 7 | 0
| Lights (25W Compact Flourescent) |  |  | 28 | 4 | 7 | 0
| Lights (50W DC Incandescent) |  |  | 50 | 4 | 7 | 0
| Lights (40W DC Halogen) |  |  | 40 | 4 | 7 | 0
| Lights (19w LED) |  |  | 19 | 4 | 7 | 0
| Lights (15w LED) |  |  | 15 | 4 | 7 | 0
| Lights (10w LED) |  |  | 10 | 4 | 7 | 0
| Lights (5w LED) |  |  | 5 | 4 | 7 | 0
| Electric Mower |  |  | 1500 | 1 | 1 | 0
| Hedge Trimmer |  |  | 450 | 1 | 1 | 0
| Weed Eater |  |  | 450 | 1 | 1 | 0
| 1/4in Drill |  |  | 250 | 1 | 1 | 0
| 1/2in Drill |  |  | 750 | 1 | 1 | 0
| 1in Drill |  |  | 1000 | 1 | 1 | 0
| 9in Disc Sander |  |  | 1200 | 1 | 1 | 0
| 3in Belt Sander |  |  | 1000 | 1 | 1 | 0
| 12in Chain Saw |  |  | 1100 | 1 | 1 | 0
| 14in Band Saw |  |  | 1100 | 1 | 1 | 0
| 7.25in Circular Saw |  |  | 900 | 1 | 1 | 0
| 8.25in Circular Saw |  |  | 1400 | 1 | 1 | 0
| Refrigerator 22 cu ft (1976-86) |  |  | 194 | 24 | 7 | 0
| Refrigerator 22 cu ft (1987-89) |  |  | 131 | 24 | 7 | 0
| Refrigerator 22 cu ft (1990-1992) |  |  | 126 | 24 | 7 | 0
| Refrigerator 22 cu ft (1993-2000) |  |  | 97 | 24 | 7 | 0
| Refrigerator 22 cu ft (2001-04 NOT Energy Star Compliant) |  |  | 68 | 24 | 7 | 0
| Refrigerator 22 cu ft (2001-04 Energy Star Compliant) |  |  | 63 | 24 | 7 | 0
| Refrigerator 22 cu ft (2004-08 Energy Star Compliant) |  |  | 60 | 24 | 7 | 0
| Refrigerator 22 cu ft (2008-10 Energy Star Compliant) |  |  | 57 | 24 | 7 | 0
| Refrigerator 22 cu ft (2011-14 CEE Tier 3) |  |  | 40 | 24 | 7 | 0
0
0
| Total | [5 empty] | 420.4486
| Ah @ 12v | [5 empty] | 35.0374
Rachel Kinoshita - KK6DAC - DRAFT - DO NOT DISTRIBUTE

## Costs
| 3 | 2
| 2 | 2
LiFePO4 Battery Option
Qty | Desc | Price | Total | Links
2 | Amerisolar 250w 24v PV panel | 170 | 340 | https://www.solarblvd.com/products/amerisolar-as-6p30-250-24v-250-watt-solar-panel-2/
1 | Victron Energy BlueSolar 100/30 30amp MPPT Charge Controller | 202 | 202 | https://www.amazon.com/Victron-BlueSolar-MPPT-Charge-Controller/dp/B011KHV1RM
1 | 150Ah Bioenno LiFePO4 battery | 1300 | 1300 | http://www.hamradio.com/detail.cfm?pid=H0-015755
1 | Y branch MC4 Parallel connector | 8 | 8 | https://www.amazon.com/gp/product/B0090MTCF8
2 | MC4 connector with inline 15a fuse (PV Panel -> Charge Controller) | 14 | 28 | https://www.amazon.com/gp/product/B019YP0LM8/
1 | 12v Inline 50a breaker (Charge Controller -> Battery) | 14 | 14 | https://www.amazon.com/MWGears-12V-24V-Protection-Circuit-Breaker/dp/B06Y4BSCY7
2 | 8 AWG Solar Cables with MC4 connectors | 47 | 94 | https://www.amazon.com/RENOGY-Female-Connectors-Double-Waterproof/dp/B00H1M8ASE
1 | Misc wires and connectors | 50 | 50 | http://www.hamradio.com/detail.cfm?pid=H0-008616 and http://www.hamradio.com/detail.cfm?pid=71-002059
1 | Adjustable 2 PV Panel Mount | 272 | 272 | https://www.solarblvd.com/products/sunwize-roof-ground-mount-adjustable-80-inch-rail/
0 |  | 0 | 0
0 |  | 0 | 0
| Total |  | 2308
ST | Nearest City
CA | SAN FRANCISCO, CA
What Type of Batteries?
Yearly Average
Summer Peak Hours
Winter Peak Hours
Select Peak Sun Hours to design your system for
Maximum Consecutive Days with Overcast Skies
Yes
No
Lead Acid
LiFePO4
Will you be using an Inverter?
Rachel Kinoshita - KK6DAC - DRAFT - DO NOT DISTRIBUTE

## Sizing
|  | Spring Peak Sun Hours* | Summer Peak Sun Hours* | Autumn Peak Sun Hours* | Winter Peak Sun Hours* | Average Peak Sun Hours | PV Watts
Solar Panel Rated Output | Solar Panel Actual Output | 6.04 | 7.12 | 5.31 | 3.79 | 5.565
147.9151 | 110.9363 | 670.0552 | 789.8664 | 589.0717 | 420.4486 | 617.3605 | 443.7452
Battery Type | Projected Usage | Max Battery Discharge | Min Battery Required | Inverter Loss | Min Battery with Inverter | Max days w/o Sun | Required Ah | Required Ah (w/Inverter)
Lead Acid | 35.0374 | 50% | 70.0748 | 10% | 77.8608 | 2 | 210.2243 | 233.5825
LiFePO4 | 35.0374 | 90% | 38.9304 | 10% | 43.256 | 2 | 116.7913 | 129.7681
City |  | Lat | Lon | Elevation (Feet) | Sunrise | Sunset | WBAN #
SAN FRANCISCO, CA |  | 37.62 | -122.38 | 16.4042 | 5:48 | 20:33 | 23234
* Peak Sun Hours is generated from the National Renewable Energy Labs (NREL) data (see the NREL Sheet)
`
Rachel Kinoshita - KK6DAC - DRAFT - DO NOT DISTRIBUTE

## Components
Part # | Solar Panels | Price | Volts | Amps | Links
PV50 | Renogy 50w 12v monocrystalline solar panel | 85 | 12 | 2.7 | https://www.amazon.com/Renogy-Watts-Volts-Monocrystalline-Solar/dp/B00DVPPFDS
PV100 | Renogy 100w 12v monocrystalline solar panel | 139 | 12 | 6 | www.amazon.com/Renogy-Watts-Volts-Monocrystalline-Solar/dp/B009Z6CW7O
PV250 | Amerisolar 250w 24v PV panel | 170 | 24 | 9 | https://www.solarblvd.com/products/amerisolar-as-6p30-250-24v-250-watt-solar-panel-2/
PV320 | Mission Solar 36v 320w monocrystalline panel | 150 | 36 | 9.12 | https://www.solarblvd.com/products/mission-solar-320-watt-24-volt-panel/
Part # | Charge Controller | Price | Amps |  | Links
CCLA05 | Genasun GV-5 5amp Lead Acid MPPT Charge Controller | 75 | 5 |  | https://genasun.com/all-products/solar-charge-controllers/for-lead/gv-5-pb-5a-solar-charge-controller/
CCLI05 | Genasun GV-5 5amp LiFePO4 MPPT Charge Controller | 99 | 5 |  | https://genasun.com/all-products/solar-charge-controllers/for-lithium/gv-5-li-lithium-5a-solar-charge-controller/
CCLA10 | Genasun GV-10 10amp Lead Acid MPPT Charge Controller | 109 | 10 |  | https://genasun.com/all-products/solar-charge-controllers/for-lead/gv-10-pb-10a-solar-charge-controller/
CCLI10 | Genasun GV-10 10amp LiFePO4 MPPT Charge Controller | 159 | 10 |  | https://genasun.com/all-products/solar-charge-controllers/for-lithium/gv-10-li-lithium-10a-solar-charge-controller/
CC15 | Victron Energy BlueSolar 75/15 15amp MPPT Charge Controller | 99 | 15 |  | https://www.amazon.com/Victron-BlueSolar-MPPT-Charge-Controller/dp/B00U3MK0CI
CC30 | Victron Energy BlueSolar 100/30 30amp MPPT Charge Controller | 202 | 30 |  | https://www.amazon.com/Victron-BlueSolar-MPPT-Charge-Controller/dp/B011KHV1RM
CC60 | Outback FX60 12-48v MPPT Charge Controller | 602 | 60 |  | https://www.solarblvd.com/product_info.php?products_id=609
CC80 | Outback FX80 12-48v MPPT Charge Controller | 672 | 80 |  | https://www.solarblvd.com/products/outback-fx80-flexmax-80-charge-controller/
Part # | Batteries (LiFePO4) | Price | Ah |  | Links
LFP08 | 8Ah Bioenno LiFePO4 battery | 94.95 | 8 |  | http://www.hamradio.com/detail.cfm?pid=H0-014920
LFP12 | 12Ah Bioenno LiFePO4 battery | 124.95 | 12 |  | http://www.hamradio.com/detail.cfm?pid=H0-014860
LFP20 | 20Ah Bioenno LiFePO4 battery | 192.95 | 20 |  | http://www.hamradio.com/detail.cfm?pid=H0-014835
LFP30 | 30Ah Bioenno LiFePO4 battery | 280 | 30 |  | http://www.hamradio.com/detail.cfm?pid=H0-015367
LFP40 | 40Ah Bioenno LiFePO4 battery | 360 | 40 |  | http://www.hamradio.com/detail.cfm?pid=H0-015369
LFP50 | 50Ah Bioenno LiFePO4 battery | 470 | 50 |  | http://www.hamradio.com/detail.cfm?pid=H0-015370
LFP60 | 60Ah Bioenno LiFePO4 battery | 570 | 60 |  | http://www.hamradio.com/detail.cfm?pid=H0-015372
LFP80 | 80Ah Bioenno LiFePO4 battery | 750 | 80 |  | https://www.bioennopower.com/collections/12v-series-lifepo4-batteries/products/12v-80ah-lfp-battery-charger
LFP100 | 100Ah Bioenno LiFePO4 battery | 862 | 100 |  | http://www.hamradio.com/detail.cfm?pid=H0-015497
LFP150 | 150Ah Bioenno LiFePO4 battery | 1300 | 150 |  | http://www.hamradio.com/detail.cfm?pid=H0-015755
LFP200 | 200Ah Bioenno LiFePO4 battery | 1800 | 200 |  | https://www.bioennopower.com/collections/12v-series-lifepo4-batteries/products/12v-200ah-lfp-battery-abs-blf-12200ts
LFP300 | 300Ah Bioenno LiFePO4 battery | 2700 | 300 |  | https://www.bioennopower.com/collections/12v-series-lifepo4-batteries/products/12v-300ah-lfp-battery-abs-blf-12300as
LFP300 | 300Ah Bioenno LiFePO4 battery | 2700 | 1836 |  | https://www.bioennopower.com/collections/12v-series-lifepo4-batteries/products/12v-300ah-lfp-battery-abs-blf-12300as
Part # | Batteries (Lead Acid) | Price | Ah |  | Links
AGM10 | 10Ah sealed lead acid battery | 27 | 10 |  | https://www.amazon.com/12v-10Ah-SLA-Rechargeable-Battery/dp/B004WENYYE
AGM20 | 20Ah sealed lead acid battery | 35.95 | 20 |  | https://www.amazon.com/ExpertPower-EXP12200-Rechargeable-Threaded-Terminals/dp/B00KC39BE6
AGM35 | 35Ah sealed lead acid battery | 65 | 35 |  | https://www.amazon.com/gp/product/B001VV0318
AGM55 | 55Ah AGM sealed lead acid battery | 125 | 55 |  | https://www.amazon.com/Universal-Group-Scooters-Electric-WheelChairs/dp/B000W6Z2X2
AGM80 | 80Ah AGM sealed lead acid battery | 191 | 80 |  | https://www.amazon.com/Cycle-Battery-RENOGY-SOLAR-PANELS/dp/B0143K89KA
AGM100 | 100Ah AGM sealed lead acid battery | 170 | 100 |  | https://www.amazon.com/Universal-UB121000-45978-100AH-Cycle-Battery/dp/B00S1RT58C
AGM140 | 140Ah Trojan 12-AGM AGM lead acid battery | 384 | 140 |  | https://www.thesolarbiz.com/trojan-12-agm-12v-140-ah-battery.html?fee=1&fep=1510&gclid=CjwKEAjwr_rIBRDJzq-Z-LC_2HgSJADoL57HVsDMRDwO08vgfu5EO0WrebZl0da_pIH8B3R5QJtrohoCFsrw_wcB
AGM150 | 150Ah AGM sealed lead acid battery | 300 | 150 |  | https://www.amazon.com/NPP-Access-Telecom-Battery-Terminals/dp/B01LMHJCAI/
AGM225 | 225Ah Trojan 8D Gel lead acid battery | 696 | 225 |  | https://www.thesolarbiz.com/trojan-8d-gel12v-225-ah-battery.html?fee=1&fep=1260&gclid=CjwKEAjwr_rIBRDJzq-Z-LC_2HgSJADoL57HIH2LNlfQnqdUmyEtLQUGqr52HOadwo2Pm03kJt1EEBoCDJnw_wcB
Part # | Connecting Components | Price |  | Amps | Links
YC01 | Y branch MC4 Parallel connector | 8 |  |  | https://www.amazon.com/gp/product/B0090MTCF8
CB06 | Midnite Solar MNPV6 Combiner Box | 95 |  |  | https://www.solarblvd.com/product_info.php?products_id=2031
CB12 | Midnite Solar MNPV12 Combiner Box | 156 |  |  | https://www.solarblvd.com/products/midnite-solar-mnpv12-combiner-box/
BR01 | Midnite Solar 150VDC MNEPV DIN Mount Breaker | 16 |  |  | https://www.solarblvd.com/product_info.php?products_id=2043
FH01 | Inline glass fuse holder | 6 |  | 100 | https://www.amazon.com/InstallGear-Gauge-Line-Fuse-Holder/dp/B01HDX3VH0
BR02 | Blue Sea 100A inline breaker | 41 |  | 100 | https://www.amazon.com/Blue-Sea-Systems-Surface-Circuit/dp/B0051P01BW
FH02 | Inline ATC fuse holder (between PV Panel & Charge Controller) | 3 |  |  | https://www.amazon.com/Scosche-0400ATCFH16-5-Fuse-Holder-Gauge/dp/B008CVPE8C
BR20 | 12v Inline 20a breaker (Charge Controller -> Battery) | 13 |  | 20 | https://www.amazon.com/KUMEED-Inline-Circuit-Breaker-Protection/dp/B01H3DKGGY
BR30 | 12v Inline 30a breaker (Charge Controller -> Battery) | 13 |  | 30 | https://www.amazon.com/KUMEED-Inline-Circuit-Breaker-Protection/dp/B01H3DKGFK
BR40 | 12v Inline 40a breaker (Charge Controller -> Battery) | 13 |  | 40 | https://www.amazon.com/KUMEED-Inline-Circuit-Breaker-Protection/dp/B01H3DKGGE
BR50 | 12v Inline 50a breaker (Charge Controller -> Battery) | 14 |  | 50 | https://www.amazon.com/MWGears-12V-24V-Protection-Circuit-Breaker/dp/B06Y4BSCY7
BR100 | 12v Inline 100a breaker (Charge Controller -> Battery) | 13 |  | 100 | https://www.amazon.com/MWGears-12V-24V-Protection-Circuit-Breaker/dp/B06Y4BSQ78/
BR150 | 12v Inline 150a breaker (Charge Controller -> Battery) | 24 |  | 150 | https://www.amazon.com/Tocas-Circuit-Breaker-Manual-Waterproof/dp/B01F76VJ3I
BR200 | 12v Inline 200a breaker (Charge Controller -> Battery) | 13 |  | 200 | https://www.amazon.com/Tocas-Circuit-Breaker-Manual-Waterproof/dp/B06Y4172LP
FU05 | MC4 connector with inline 5a fuse (PV Panel -> Charge Controller) | 14 |  | 5 | https://www.amazon.com/gp/product/B019YP0GX2
FU10 | MC4 connector with inline 10a fuse (PV Panel -> Charge Controller) | 14 |  | 10 | https://www.amazon.com/gp/product/B019YP0GX2
FU10B | 10A ATC fuse and inline holder (Charge Controller -> Battery) | 3.5 |  | 10 | https://www.amazon.com/Cal-Hawk-120-Fuses-Automotive-Truck/dp/B0042XORMI And https://www.amazon.com/Scosche-0400ATCFH16-5-Fuse-Holder-Gauge/dp/B008CVPE8C
FU15 | MC4 connector with inline 15a fuse (PV Panel -> Charge Controller) | 14 |  | 15 | https://www.amazon.com/gp/product/B019YP0LM8/
FU20 | MC4 connector with inline 20a fuse (PV Panel -> Charge Controller) | 14 |  | 20 | https://www.amazon.com/gp/product/B019YP0G1O/
FU20B | 20A ATC fuse and inline holder (Charge Controller -> Battery) | 3.5 |  | 20 | https://www.amazon.com/Cal-Hawk-120-Fuses-Automotive-Truck/dp/B0042XORMI And https://www.amazon.com/Scosche-0400ATCFH16-5-Fuse-Holder-Gauge/dp/B008CVPE8C
FU25 | MC4 connector with inline 30a fuse (PV Panel -> Charge Controller) | 14 |  | 30 | https://www.amazon.com/gp/product/B019YP0KSS/
MB01 | Small Adjustable PV Panel Mount | 47 |  |  | https://www.amazon.com/Adjustable-Solar-Mounting-Bracket-Off-Grid/dp/B00SBCKLYO
MB02 | Medium Adjustable PV Panel Mount | 97 |  |  | https://www.solarblvd.com/products/sunwize-roof-ground-mount-adjustable-53-inch-rail/
MB03 | Adjustable 2 PV Panel Mount | 272 |  |  | https://www.solarblvd.com/products/sunwize-roof-ground-mount-adjustable-80-inch-rail/
CBL01 | 2 AWG Battery Cable (Red) | 10 |  |  | https://www.amazon.com/Camco-47483-2-Gauge-Battery-Assembly/dp/B00JGJGLMM
CBL02 | 2 AWG Battery Cable (Black) | 10 |  |  | https://www.amazon.com/Camco-47470-2-Gauge-Battery-Assembly/dp/B00JGJGFQY
Rachel Kinoshita - KK6DAC - DRAFT - DO NOT DISTRIBUTE
Rachel Kinoshita - KK6DAC - DRAFT - DO NOT DISTRIBUTE

## NREL
City | State | WBAN | Lat | Lon | Elev | Winter | Spring | Summer | Autumn | TZ Offset | DST | State List
ANCHORAGE, AK | AK | 26451 | 61.17 | -150.02 | 35 | 1.32 | 4.51 | 4.54 | 2.11 | -9 | 1 | AK | Peak Sun Hour data downloaded from the National Renewable Energy Labs
ANNETTE, AK | AK | 25308 | 55.03 | -131.57 | 34 | 1.57 | 4.02 | 4.75 | 2.34 | -9 | 1 | AL | http://rredc.nrel.gov/solar/old_data/nsrdb/1961-1990/redbook/
BARROW, AK | AK | 27502 | 71.3 | -156.78 | 4 | 0.39 | 5.01 | 4.06 | 0.9 | -9 | 1 | AR | The data in this spreadsheet was generated by taking the highest peak sun hours from the flat plate collector data for each season where
BETHEL, AK | AK | 26615 | 60.78 | -161.8 | 46 | 1.88 | 4.78 | 4.16 | 2.19 | -9 | 1 | AZ | Dec to Feb is Winter
BETTLES, AK | AK | 26533 | 66.92 | -151.52 | 205 | 0.97 | 5.45 | 4.96 | 2 | -9 | 1 | CA | Mar to May is Spring
BIG DELTA, AK | AK | 26415 | 64 | -145.73 | 388 | 1.51 | 5.27 | 5.1 | 2.39 | -9 | 1 | CO | Jun to Aug is Summer
COLD BAY, AK | AK | 25624 | 55.2 | -162.72 | 29 | 1.52 | 3.32 | 3.55 | 1.89 | -9 | 1 | CT | Sep to Nov is Autumn
FAIRBANKS, AK | AK | 26411 | 64.82 | -147.87 | 138 | 1.19 | 5.32 | 5.07 | 2.19 | -9 | 1 | DE | Then averaging that data from the first to the last year that data was made available
GULKANA, AK | AK | 26425 | 62.15 | -145.45 | 481 | 1.64 | 5.32 | 5.25 | 2.6 | -9 | 1 | FL
KING SALMON, AK | AK | 25503 | 58.68 | -156.65 | 15 | 1.9 | 4.25 | 4.19 | 2.37 | -9 | 1 | GA
KODIAK, AK | AK | 25501 | 57.75 | -152.33 | 34 | 1.71 | 4.14 | 4.45 | 2.63 | -9 | 1 | HI
KOTZEBUE, AK | AK | 26616 | 66.87 | -162.63 | 5 | 0.96 | 5.63 | 4.75 | 2 | -9 | 1 | IA
MCGRATH, AK | AK | 26510 | 62.97 | -155.62 | 103 | 1.59 | 5.18 | 4.56 | 2.16 | -9 | 1 | ID
NOME, AK | AK | 26617 | 64.5 | -165.43 | 7 | 1.42 | 5.5 | 4.59 | 2.22 | -9 | 1 | IL
ST PAUL IS., AK | AK | 25713 | 57.15 | -170.22 | 7 | 1.39 | 3.77 | 3.47 | 1.82 | -9 | 1 | IN
TALKEETNA, AK | AK | 26528 | 62.3 | -150.1 | 105 | 1.7 | 4.99 | 4.6 | 2.46 | -9 | 1 | KS
YAKUTAT, AK | AK | 25339 | 59.52 | -139.67 | 9 | 1.38 | 3.93 | 4.09 | 1.92 | -9 | 1 | KY
BIRMINGHAM, AL | AL | 13876 | 33.57 | -86.75 | 192 | 3.93 | 5.58 | 5.96 | 4.92 | -6 | 1 | LA
HUNTSVILLE, AL | AL | 3856 | 34.65 | -86.77 | 190 | 3.68 | 5.47 | 6.09 | 4.8 | -6 | 1 | MA
MOBILE, AL | AL | 13894 | 30.68 | -88.25 | 67 | 3.97 | 5.5 | 5.61 | 4.98 | -6 | 1 | MD
MONTGOMERY, AL | AL | 13895 | 32.3 | -86.4 | 62 | 4.08 | 5.77 | 6.12 | 5.09 | -6 | 1 | ME
FORT SMITH, AR | AR | 13964 | 35.33 | -94.37 | 141 | 4.22 | 5.62 | 6.44 | 4.95 | -6 | 1 | MI
LITTLE ROCK, AR | AR | 13963 | 34.73 | -92.23 | 81 | 4 | 5.59 | 6.37 | 4.92 | -6 | 1 | MN
FLAGSTAFF, AZ | AZ | 3103 | 35.13 | -111.67 | 2135 | 5.62 | 6.72 | 6.73 | 6.09 | -7 | 0 | MO
PHOENIX, AZ | AZ | 23183 | 33.43 | -112.02 | 339 | 5.52 | 7.38 | 7.76 | 6.53 | -7 | 0 | MS
PRESCOTT, AZ | AZ | 23184 | 34.65 | -112.43 | 1531 | 5.47 | 6.88 | 7.12 | 6.34 | -7 | 0 | MT
TUCSON, AZ | AZ | 23160 | 32.12 | -110.93 | 779 | 5.78 | 7.34 | 7.36 | 6.58 | -7 | 0 | NC
ARCATA, CA | CA | 24283 | 40.98 | -124.1 | 69 | 3.19 | 5.21 | 5.72 | 4.18 | -8 | 1 | ND
BAKERSFIELD, CA | CA | 23155 | 35.42 | -119.05 | 150 | 3.72 | 6.52 | 7.85 | 5.83 | -8 | 1 | NE
DAGGETT, CA | CA | 23161 | 34.87 | -116.78 | 588 | 5.72 | 7.39 | 8.01 | 6.79 | -8 | 1 | NH
FRESNO, CA | CA | 93193 | 36.77 | -119.72 | 100 | 3.44 | 6.68 | 7.89 | 5.75 | -8 | 1 | NJ
LONG BEACH, CA | CA | 23129 | 33.82 | -118.15 | 17 | 4.58 | 6.14 | 6.96 | 5.51 | -8 | 1 | NM
LOS ANGELES, CA | CA | 23174 | 33.93 | -118.4 | 32 | 4.62 | 6.17 | 6.84 | 5.47 | -8 | 1 | NV
SACRAMENTO, CA | CA | 23232 | 38.52 | -121.5 | 8 | 3.31 | 6.36 | 7.75 | 5.52 | -8 | 1 | NY
SAN DIEGO, CA | CA | 23188 | 32.73 | -117.17 | 9 | 5.02 | 6.17 | 6.71 | 5.77 | -8 | 1 | OH
SAN FRANCISCO, CA | CA | 23234 | 37.62 | -122.38 | 5 | 3.79 | 6.04 | 7.12 | 5.31 | -8 | 1 | OK
SANTA MARIA, CA | CA | 23273 | 34.9 | -120.45 | 72 | 4.93 | 6.49 | 7.3 | 5.89 | -8 | 1 | OR
ALAMOSA, CO | CO | 23061 | 37.45 | -105.87 | 2297 | 5.99 | 6.82 | 7.21 | 6.4 | -7 | 1 | PA
BOULDER, CO | CO | 94018 | 40.02 | -105.25 | 1634 | 4.8 | 5.98 | 6.63 | 5.5 | -7 | 1 | PI
COLORADO SPRINGS, CO | CO | 93037 | 38.82 | -104.72 | 1881 | 5 | 6.02 | 6.66 | 5.7 | -7 | 1 | PR
EAGLE, CO | CO | 23063 | 39.65 | -106.92 | 1985 | 4.71 | 6.02 | 6.87 | 5.48 | -7 | 1 | RI
GRAND JUNCTION, CO | CO | 23066 | 39.12 | -108.53 | 1475 | 4.8 | 6.42 | 7.34 | 5.83 | -7 | 1 | SC
PUEBLO, CO | CO | 93058 | 38.28 | -104.52 | 1439 | 5.19 | 6.4 | 7.15 | 5.95 | -7 | 1 | SD
BRIDGEPORT, CT | CT | 94702 | 41.17 | -73.13 | 2 | 3.45 | 5.04 | 5.73 | 4.18 | -5 | 1 | TN
HARTFORD, CT | CT | 14740 | 41.93 | -72.68 | 55 | 3.45 | 5.03 | 5.73 | 4 | -5 | 1 | TX
WILMINGTON, DE | DE | 13781 | 39.67 | -75.6 | 24 | 3.63 | 5.26 | 6.02 | 4.43 | -5 | 1 | UT
DAYTONA BEACH, FL | FL | 12834 | 29.18 | -81.05 | 12 | 4.51 | 6.15 | 5.97 | 5.09 | -5 | 1 | VA
JACKSONVILLE, FL | FL | 13889 | 30.5 | -81.7 | 9 | 4.33 | 5.89 | 5.78 | 4.86 | -5 | 1 | VT
KEY WEST, FL | FL | 12836 | 24.55 | -81.75 | 1 | 5.1 | 6.28 | 6.03 | 5.42 | -5 | 1 | WA
MIAMI, FL | FL | 12839 | 25.8 | -80.27 | 2 | 4.83 | 5.92 | 5.68 | 5.06 | -5 | 1 | WI
TALLAHASSEE, FL | FL | 93805 | 30.38 | -84.37 | 21 | 4.29 | 5.91 | 5.84 | 5.21 | -5 | 1 | WV
TAMPA, FL | FL | 12842 | 27.97 | -82.53 | 3 | 4.71 | 6.16 | 5.81 | 5.28 | -5 | 1 | WY
WEST PALM BEACH, FL | FL | 12844 | 26.68 | -80.1 | 6 | 4.6 | 5.86 | 5.73 | 4.95 | -5 | 1
ATHENS, GA | GA | 13873 | 33.95 | -83.32 | 244 | 4.16 | 5.76 | 6.07 | 5.04 | -5 | 1
ATLANTA, GA | GA | 13874 | 33.65 | -84.43 | 315 | 4.08 | 5.8 | 6.17 | 5.04 | -5 | 1
AUGUSTA, GA | GA | 3820 | 33.37 | -81.97 | 45 | 4.2 | 5.8 | 6.04 | 5.05 | -5 | 1
COLUMBUS, GA | GA | 93842 | 32.52 | -84.95 | 136 | 4.2 | 5.85 | 6.04 | 5.13 | -5 | 1
MACON, GA | GA | 3813 | 32.7 | -83.65 | 110 | 4.17 | 5.84 | 6.03 | 5.08 | -5 | 1
SAVANNAH, GA | GA | 3822 | 32.13 | -81.2 | 16 | 4.25 | 5.91 | 5.97 | 4.99 | -5 | 1
HILO, HI | HI | 21504 | 19.72 | -155.07 | 11 | 4.51 | 4.91 | 5.29 | 4.84 | -10 | 1
HONOLULU, HI | HI | 22521 | 21.33 | -157.92 | 5 | 5.11 | 6.02 | 6.54 | 5.8 | -10 | 0
KAHULUI, HI | HI | 22516 | 20.9 | -156.43 | 15 | 5.28 | 6.04 | 6.62 | 5.99 | -10 | 0
LIHUE, HI | HI | 22536 | 21.98 | -159.35 | 45 | 4.73 | 5.48 | 6 | 5.38 | -10 | 0
DES MOINES, IA | IA | 14933 | 41.53 | -93.65 | 294 | 3.79 | 5.31 | 6.34 | 4.52 | -6 | 1
MASON CITY, IA | IA | 14940 | 43.15 | -93.33 | 373 | 3.69 | 5.24 | 6.17 | 4.25 | -6 | 1
SIOUX CITY, IA | IA | 14943 | 42.4 | -96.38 | 336 | 3.79 | 5.4 | 6.38 | 4.51 | -6 | 1
WATERLOO, IA | IA | 94910 | 42.55 | -92.4 | 265 | 3.62 | 5.16 | 6.16 | 4.18 | -6 | 1
BOISE, ID | ID | 24131 | 43.57 | -116.22 | 874 | 3.13 | 5.82 | 7.32 | 5.03 | -7 | 1
POCATELLO, ID | ID | 24156 | 42.92 | -112.6 | 1365 | 3.23 | 5.6 | 7.03 | 4.98 | -7 | 1
CHICAGO, IL | IL | 94846 | 41.78 | -87.75 | 190 | 3.21 | 4.99 | 6.02 | 3.99 | -6 | 1
MOLINE, IL | IL | 14923 | 41.45 | -90.52 | 181 | 3.51 | 5.11 | 6.17 | 4.31 | -6 | 1
PEORIA, IL | IL | 14842 | 40.67 | -89.68 | 199 | 3.49 | 5.11 | 6.19 | 4.36 | -6 | 1
ROCKFORD, IL | IL | 94822 | 42.2 | -89.1 | 221 | 3.5 | 5.05 | 6.04 | 4.08 | -6 | 1
SPRINGFIELD, IL | IL | 93822 | 39.83 | -89.67 | 187 | 3.67 | 5.3 | 6.33 | 4.59 | -6 | 1
EVANSVILLE, IN | IN | 93817 | 38.05 | -87.53 | 118 | 3.44 | 5.28 | 6.27 | 4.59 | -6 | 1
FORT WAYNE, IN | IN | 14827 | 41 | -85.2 | 252 | 2.96 | 4.95 | 5.98 | 3.98 | -5 | 1
INDIANAPOLIS, IN | IN | 93819 | 39.73 | -86.28 | 246 | 3.26 | 5.17 | 6.22 | 4.33 | -5 | 1
SOUTH BEND, IN | IN | 14848 | 41.7 | -86.32 | 236 | 2.8 | 4.92 | 5.94 | 3.77 | -5 | 1
DODGE CITY, KS | KS | 13985 | 37.77 | -99.97 | 787 | 4.91 | 6.19 | 6.98 | 5.49 | -6 | 1
GOODLAND, KS | KS | 23065 | 39.37 | -101.7 | 1124 | 4.84 | 6.08 | 6.97 | 5.56 | -6 | 1
TOPEKA, KS | KS | 13996 | 39.07 | -95.63 | 270 | 4.04 | 5.42 | 6.37 | 4.77 | -6 | 1
WICHITA, KS | KS | 3928 | 37.65 | -97.42 | 408 | 4.37 | 5.7 | 6.63 | 5.08 | -6 | 1
COVINGTON, KY | KY | 93814 | 39.07 | -84.67 | 271 | 3.15 | 5.04 | 6 | 4.28 | -5 | 1
LEXINGTON, KY | KY | 93820 | 38.03 | -84.6 | 301 | 3.22 | 5.12 | 5.95 | 4.35 | -5 | 1
LOUISVILLE, KY | KY | 93821 | 38.18 | -85.73 | 149 | 3.31 | 5.2 | 6.09 | 4.43 | -5 | 1
BATON ROUGE, LA | LA | 13970 | 30.53 | -91.15 | 23 | 3.87 | 5.48 | 5.77 | 5 | -6 | 1
LAKE CHARLES, LA | LA | 3937 | 30.12 | -93.22 | 3 | 3.95 | 5.51 | 6.02 | 5.14 | -6 | 1
NEW ORLEANS, LA | LA | 12916 | 29.98 | -90.25 | 3 | 3.97 | 5.6 | 5.8 | 5.08 | -6 | 1
SHREVEPORT, LA | LA | 13957 | 32.47 | -93.82 | 79 | 4.03 | 5.55 | 6.34 | 5.08 | -6 | 1
BOSTON, MA | MA | 14739 | 42.37 | -71.03 | 5 | 3.61 | 5.19 | 5.96 | 4.24 | -5 | 1
WORCHESTER, MA | MA | 94746 | 42.27 | -71.87 | 301 | 3.61 | 5.14 | 5.81 | 4.13 | -5 | 1
BALTIMORE, MD | MD | 93721 | 39.18 | -76.67 | 47 | 3.67 | 5.23 | 5.92 | 4.47 | -5 | 1
CARIBOU, ME | ME | 14607 | 46.87 | -68.02 | 190 | 3.54 | 5.2 | 5.51 | 3.36 | -5 | 1
PORTLAND, ME | ME | 14764 | 43.65 | -70.32 | 19 | 3.9 | 5.28 | 5.95 | 4.21 | -5 | 1
ALPENA, MI | MI | 94849 | 45.07 | -83.57 | 210 | 3.01 | 5.31 | 5.93 | 3.44 | -5 | 1
DETROIT, MI | MI | 94847 | 42.42 | -83.02 | 191 | 2.85 | 4.98 | 5.97 | 3.79 | -5 | 1
FLINT, MI | MI | 14826 | 42.97 | -83.73 | 233 | 2.8 | 4.94 | 5.88 | 3.63 | -5 | 1
GRAND RAPIDS, MI | MI | 94860 | 42.88 | -85.52 | 245 | 2.73 | 5.06 | 6.05 | 3.67 | -5 | 1
HOUGHTON, MI | MI | 94814 | 47.17 | -88.5 | 329 | 2.63 | 5.19 | 5.83 | 3.31 | -5 | 1
LANSING, MI | MI | 14836 | 42.78 | -84.6 | 256 | 2.82 | 5 | 5.93 | 3.67 | -5 | 1
MUSKEGON, MI | MI | 14840 | 43.17 | -86.25 | 191 | 2.46 | 5.17 | 6.22 | 3.6 | -5 | 1
SAULT STE. MARIE, MI | MI | 14847 | 46.47 | -84.37 | 221 | 3.16 | 5.5 | 5.82 | 3.15 | -5 | 1
TRAVERSE CITY, MI | MI | 14850 | 44.73 | -85.58 | 192 | 2.56 | 5.11 | 5.88 | 3.3 | -5 | 1
DULUTH, MN | MN | 14913 | 46.83 | -92.18 | 432 | 3.55 | 5.47 | 5.85 | 3.6 | -6 | 1
INTERNATIONAL FALLS, MN | MN | 14918 | 48.57 | -93.38 | 361 | 3.41 | 5.41 | 5.67 | 3.29 | -6 | 1
MINNEAPOLIS, MN | MN | 14922 | 44.88 | -93.22 | 255 | 3.73 | 5.34 | 6.14 | 4.04 | -6 | 1
ROCHESTER, MN | MN | 14925 | 43.92 | -92.5 | 402 | 3.57 | 5.16 | 6 | 3.96 | -6 | 1
SAINT CLOUD, MN | MN | 14926 | 45.55 | -94.07 | 313 | 3.68 | 5.35 | 6.1 | 3.99 | -6 | 1
COLUMBIA, MO | MO | 3945 | 38.82 | -92.22 | 270 | 3.89 | 5.48 | 6.45 | 4.69 | -6 | 1
KANSAS CITY, MO | MO | 3947 | 39.3 | -94.72 | 315 | 3.94 | 5.41 | 6.38 | 4.81 | -6 | 1
SPRINGFIELD, MO | MO | 13995 | 37.23 | -93.38 | 387 | 3.91 | 5.45 | 6.38 | 4.75 | -6 | 1
ST. LOUIS, MO | MO | 13994 | 38.75 | -90.38 | 172 | 3.71 | 5.34 | 6.25 | 4.61 | -6 | 1
JACKSON, MS | MS | 3940 | 32.32 | -90.08 | 101 | 3.98 | 5.7 | 6.17 | 5.09 | -6 | 1
MERIDIAN, MS | MS | 13865 | 32.33 | -88.75 | 94 | 3.88 | 5.53 | 5.92 | 4.93 | -6 | 1
BILLINGS, MT | MT | 24033 | 45.8 | -108.53 | 1088 | 3.71 | 5.58 | 6.8 | 4.78 | -7 | 1
CUT BANK, MT | MT | 24137 | 48.6 | -112.37 | 1170 | 3.42 | 5.57 | 6.64 | 4.51 | -7 | 1
GLASGOW, MT | MT | 94008 | 48.22 | -106.62 | 700 | 3.42 | 5.42 | 6.51 | 4.3 | -7 | 1
GREAT FALLS, MT | MT | 24143 | 47.48 | -111.37 | 1116 | 3.37 | 5.51 | 6.76 | 4.5 | -7 | 1
HELENA, MT | MT | 24144 | 46.6 | -112 | 1188 | 3.23 | 5.35 | 6.66 | 4.52 | -7 | 1
KALISPELL, MT | MT | 24146 | 48.3 | -114.27 | 904 | 2.35 | 4.84 | 6.33 | 3.7 | -7 | 1
LEWISTOWN, MT | MT | 24036 | 47.05 | -109.45 | 1264 | 3.34 | 5.36 | 6.52 | 4.43 | -7 | 1
MILES CITY, MT | MT | 24037 | 46.43 | -105.87 | 803 | 3.74 | 5.61 | 6.82 | 4.68 | -7 | 1
MISSOULA, MT | MT | 24153 | 46.92 | -114.08 | 972 | 2.48 | 4.93 | 6.53 | 3.97 | -7 | 1
ASHEVILLE, NC | NC | 3812 | 35.43 | -82.53 | 661 | 4.16 | 5.53 | 5.75 | 4.79 | -5 | 1
CAPE HATTERAS, NC | NC | 93729 | 35.27 | -75.55 | 2 | 4.06 | 5.79 | 6.13 | 4.92 | -5 | 1
CHARLOTTE, NC | NC | 13881 | 35.22 | -80.93 | 234 | 4.08 | 5.69 | 6.04 | 4.93 | -5 | 1
GREENSBORO, NC | NC | 13723 | 36.08 | -79.95 | 270 | 4.06 | 5.64 | 6.02 | 4.84 | -5 | 1
RALEIGH, NC | NC | 13722 | 35.87 | -78.78 | 134 | 4.05 | 5.68 | 6.01 | 4.83 | -5 | 1
WILMINGTON, NC | NC | 13748 | 34.27 | -77.9 | 9 | 4.21 | 5.83 | 5.95 | 4.95 | -5 | 1
BISMARCK, ND | ND | 24011 | 46.77 | -100.75 | 502 | 3.8 | 5.62 | 6.58 | 4.43 | -6 | 1
FARGO, ND | ND | 14914 | 46.9 | -96.8 | 274 | 3.62 | 5.4 | 6.24 | 4.04 | -6 | 1
MINOT, ND | ND | 24013 | 48.27 | -101.28 | 522 | 3.58 | 5.55 | 6.39 | 4.23 | -6 | 1
GRAND ISLAND, NE | NE | 14935 | 40.97 | -98.32 | 566 | 4.33 | 5.72 | 6.68 | 4.99 | -6 | 1
NORFOLK, NE | NE | 14941 | 41.98 | -97.43 | 471 | 4.05 | 5.59 | 6.53 | 4.74 | -6 | 1
NORTH PLATTE, NE | NE | 24023 | 41.13 | -100.68 | 849 | 4.41 | 5.73 | 6.68 | 5.12 | -6 | 1
OMAHA, NE | NE | 94918 | 41.37 | -96.52 | 404 | 3.97 | 5.45 | 6.42 | 4.56 | -6 | 1
SCOTTSBLUFF, NE | NE | 24028 | 41.87 | -103.6 | 1206 | 4.39 | 5.69 | 6.83 | 5.21 | -6 | 1
CONCORD, NH | NH | 14745 | 43.2 | -71.5 | 105 | 3.8 | 5.3 | 5.93 | 4.1 | -5 | 1
ATLANTIC CITY, NJ | NJ | 93730 | 39.45 | -74.57 | 20 | 3.67 | 5.23 | 5.88 | 4.5 | -5 | 1
NEWARK, NJ | NJ | 14734 | 40.7 | -74.17 | 9 | 3.46 | 5.12 | 5.78 | 4.23 | -5 | 1
ALBUQUERQUE, NM | NM | 23050 | 35.05 | -106.62 | 1619 | 5.7 | 7.16 | 7.59 | 6.41 | -7 | 1
TUCUMCARI, NM | NM | 23048 | 35.18 | -103.6 | 1231 | 5.35 | 6.67 | 7.14 | 6.02 | -7 | 1
ELKO, NV | NV | 24121 | 40.83 | -115.78 | 1547 | 4.17 | 5.73 | 7.19 | 5.5 | -7 | 1
ELY, NV | NV | 23154 | 39.28 | -114.85 | 1906 | 4.98 | 6.21 | 7.21 | 5.92 | -7 | 1
LAS VEGAS, NV | NV | 23169 | 36.08 | -115.17 | 664 | 5.55 | 7.34 | 7.91 | 6.63 | -7 | 1
RENO, NV | NV | 23185 | 39.5 | -119.78 | 1341 | 4.46 | 6.42 | 7.61 | 5.92 | -7 | 1
TONOPAH, NV | NV | 23153 | 38.07 | -117.13 | 1653 | 5.12 | 6.63 | 7.66 | 6.31 | -7 | 1
WINNEMUCCA, NV | NV | 24128 | 40.9 | -117.8 | 1323 | 4.05 | 5.96 | 7.41 | 5.56 | -7 | 1
ALBANY, NY | NY | 14735 | 42.75 | -73.8 | 89 | 3.21 | 5.01 | 5.84 | 3.79 | -7 | 1
BINGHAMTON, NY | NY | 4725 | 42.22 | -75.98 | 499 | 2.87 | 4.82 | 5.62 | 3.58 | -5 | 1
BUFFALO, NY | NY | 14733 | 42.93 | -78.73 | 215 | 2.59 | 4.9 | 5.87 | 3.49 | -5 | 1
MASSENA, NY | NY | 94725 | 44.93 | -74.85 | 63 | 3.33 | 5.2 | 5.85 | 3.61 | -5 | 1
NEW YORK CITY, NY | NY | 94728 | 40.78 | -73.97 | 57 | 3.43 | 5.28 | 5.94 | 4.26 | -5 | 1
ROCHESTER, NY | NY | 14768 | 43.12 | -77.67 | 169 | 2.65 | 4.92 | 5.86 | 3.51 | -5 | 1
SYRACUSE, NY | NY | 14771 | 43.12 | -76.12 | 124 | 2.8 | 4.96 | 5.88 | 3.57 | -5 | 1
AKRON, OH | OH | 14895 | 40.92 | -81.43 | 377 | 2.66 | 4.82 | 5.85 | 3.8 | -5 | 1
CLEVELAND, OH | OH | 14820 | 41.4 | -81.85 | 245 | 2.54 | 4.87 | 5.93 | 3.67 | -5 | 1
COLUMBUS, OH | OH | 14821 | 40 | -82.88 | 254 | 2.82 | 4.84 | 5.8 | 4.03 | -5 | 1
DAYTON, OH | OH | 93815 | 39.9 | -84.22 | 306 | 3.06 | 5.01 | 6 | 4.16 | -5 | 1
MANSFIELD, OH | OH | 14891 | 40.82 | -82.52 | 395 | 2.74 | 4.83 | 5.88 | 3.86 | -5 | 1
TOLEDO, OH | OH | 94830 | 41.6 | -83.8 | 211 | 2.97 | 5.08 | 6.1 | 3.96 | -5 | 1
YOUNGSTOWN, OH | OH | 14852 | 41.27 | -80.67 | 361 | 2.49 | 4.66 | 5.64 | 3.58 | -5 | 1
OKLAHOMA CITY, OK | OK | 13967 | 35.4 | -97.6 | 397 | 4.58 | 5.9 | 6.73 | 5.29 | -6 | 1
TULSA, OK | OK | 13968 | 36.2 | -95.9 | 206 | 4.18 | 5.57 | 6.45 | 4.91 | -6 | 1
ASTORIA, OR | OR | 94224 | 46.15 | -123.88 | 7 | 2.06 | 4.24 | 5.26 | 3.44 | -8 | 1
BURNS, OR | OR | 94185 | 43.58 | -119.05 | 1271 | 3.39 | 5.74 | 7.22 | 4.95 | -8 | 1
EUGENE, OR | OR | 24221 | 44.12 | -123.22 | 109 | 2.08 | 4.75 | 6.4 | 3.78 | -8 | 1
MEDFORD, OR | OR | 24225 | 42.37 | -122.87 | 396 | 2.55 | 5.64 | 7.4 | 4.58 | -8 | 1
NORTH BEND, OR | OR | 24284 | 43.42 | -124.25 | 5 | 2.78 | 5.04 | 6.24 | 4.23 | -8 | 1
PENDLETON, OR | OR | 24155 | 45.68 | -118.85 | 456 | 2.43 | 5.43 | 7.06 | 4.5 | -8 | 1
PORTLAND, OR | OR | 24229 | 45.6 | -122.6 | 12 | 2.03 | 4.54 | 6.01 | 3.6 | -8 | 1
REDMOND, OR | OR | 24230 | 44.27 | -121.15 | 940 | 3.24 | 5.8 | 7.31 | 4.94 | -8 | 1
SALEM, OR | OR | 24232 | 44.92 | -123.02 | 61 | 2.14 | 4.76 | 6.3 | 3.79 | -8 | 1
ALLENTOWN, PA | PA | 14737 | 40.65 | -75.43 | 117 | 3.32 | 5.03 | 5.77 | 4.06 | -5 | 1
BRADFORD, PA | PA | 4751 | 41.8 | -78.63 | 600 | 2.9 | 4.94 | 5.69 | 3.6 | -5 | 1
ERIE, PA | PA | 14860 | 42.08 | -80.18 | 225 | 2.45 | 4.97 | 6.03 | 3.56 | -5 | 1
HARRISBURG, PA | PA | 14751 | 40.22 | -76.85 | 106 | 3.42 | 5.12 | 5.84 | 4.18 | -5 | 1
PHILADELPHIA, PA | PA | 13739 | 39.88 | -75.25 | 9 | 3.5 | 5.14 | 5.93 | 4.36 | -5 | 1
PITTSBURGH, PA | PA | 94823 | 40.5 | -80.22 | 373 | 2.7 | 4.86 | 5.82 | 3.86 | -5 | 1
WILKES-BARRE, PA | PA | 14777 | 41.33 | -75.73 | 289 | 2.95 | 4.9 | 5.76 | 3.79 | -5 | 1
WILLIAMSPORT, PA | PA | 14778 | 41.27 | -77.05 | 243 | 3.02 | 4.95 | 5.78 | 3.72 | -5 | 1
GUAM, PI | PI | 41415 | 13.55 | 144.83 | 110 | 4.86 | 5.71 | 5.14 | 4.98 | 10 | 0
SAN JUAN, PR | PR | 11641 | 18.43 | -66 | 19 | 5.14 | 5.98 | 6.03 | 5.51 | -4 | 0
PROVIDENCE, RI | RI | 14765 | 41.73 | -71.43 | 19 | 3.57 | 5.13 | 5.82 | 4.22 | -5 | 1
CHARLESTON, SC | SC | 13880 | 32.9 | -80.03 | 12 | 4.3 | 5.94 | 5.97 | 5.03 | -5 | 1
COLUMBIA, SC | SC | 13883 | 33.95 | -81.12 | 69 | 4.18 | 5.77 | 6 | 5.02 | -5 | 1
GREENVILLE, SC | SC | 3870 | 34.9 | -82.22 | 296 | 4.2 | 5.71 | 5.99 | 4.99 | -5 | 1
HURON, SD | SD | 14936 | 44.38 | -98.22 | 393 | 3.68 | 5.38 | 6.5 | 4.51 | -6 | 1
PIERRE, SD | SD | 24025 | 44.38 | -100.28 | 526 | 3.8 | 5.58 | 6.66 | 4.73 | -6 | 1
RAPID CITY, SD | SD | 24090 | 44.05 | -103.07 | 966 | 4.1 | 5.67 | 6.71 | 5.06 | -6 | 1
SIOUX FALLS, SD | SD | 14944 | 43.57 | -96.73 | 435 | 3.8 | 5.39 | 6.38 | 4.46 | -6 | 1
BRISTOL, TN | TN | 13877 | 36.48 | -82.4 | 459 | 3.49 | 5.27 | 5.85 | 4.54 | -6 | 1
CHATTANOOGA, TN | TN | 13882 | 35.03 | -85.2 | 210 | 3.65 | 5.36 | 5.88 | 4.64 | -6 | 1
KNOXVILLE, TN | TN | 13891 | 35.82 | -83.98 | 299 | 3.55 | 5.33 | 5.94 | 4.6 | -6 | 1
MEMPHIS, TN | TN | 13893 | 35.05 | -89.98 | 87 | 3.89 | 5.6 | 6.44 | 4.94 | -6 | 1
NASHVILLE, TN | TN | 13897 | 36.12 | -86.68 | 180 | 3.67 | 5.52 | 6.24 | 4.68 | -6 | 1
ABLIENE, TX | TX | 13962 | 32.43 | -99.68 | 534 | 4.98 | 6.31 | 6.81 | 5.6 | -6 | 1
AMARILLO, TX | TX | 23047 | 35.23 | -101.7 | 1098 | 5.2 | 6.38 | 6.88 | 5.79 | -6 | 1
AUSTIN, TX | TX | 13958 | 30.3 | -97.7 | 189 | 4.4 | 5.6 | 6.62 | 5.35 | -6 | 1
BROWNSVILLE, TX | TX | 12919 | 25.9 | -97.43 | 6 | 3.79 | 5.38 | 6.31 | 5.16 | -6 | 1
CORPUS CHRISTI, TX | TX | 12924 | 27.77 | -97.5 | 13 | 3.82 | 5.16 | 6.08 | 5.1 | -6 | 1
EL PASO, TX | TX | 23044 | 31.8 | -106.4 | 1194 | 5.78 | 7.38 | 7.44 | 6.39 | -6 | 1
FORT WORTH, TX | TX | 3927 | 32.83 | -97.05 | 164 | 4.53 | 5.84 | 6.82 | 5.35 | -6 | 1
HOUSTON, TX | TX | 12960 | 29.98 | -95.37 | 33 | 3.75 | 5.16 | 5.89 | 4.95 | -6 | 1
LUBBOCK, TX | TX | 23042 | 33.65 | -101.82 | 988 | 5.18 | 6.45 | 6.85 | 5.76 | -6 | 1
LUFKIN, TX | TX | 93987 | 31.23 | -94.75 | 96 | 4.01 | 5.49 | 6.31 | 5.18 | -6 | 1
MIDLAND, TX | TX | 23023 | 31.93 | -102.2 | 871 | 5.33 | 6.73 | 6.98 | 5.9 | -6 | 1
PORT ARTHUR, TX | TX | 12917 | 29.95 | -94.02 | 7 | 3.9 | 5.32 | 6.05 | 5.08 | -6 | 1
SAN ANGELO, TX | TX | 23034 | 31.37 | -100.5 | 582 | 5.03 | 6.3 | 6.8 | 5.65 | -6 | 1
SAN ANTONIO, TX | TX | 12921 | 29.53 | -98.47 | 242 | 4.44 | 5.67 | 6.69 | 5.45 | -6 | 1
VICTORIA, TX | TX | 12912 | 28.85 | -96.92 | 32 | 3.92 | 5.23 | 6.11 | 5.12 | -6 | 1
WACO, TX | TX | 13959 | 31.62 | -97.22 | 155 | 4.46 | 5.71 | 6.72 | 5.37 | -6 | 1
WICHITA FALLS, TX | TX | 13966 | 33.97 | -98.48 | 314 | 4.68 | 6.04 | 6.81 | 5.44 | -6 | 1
CEDAR CITY, UT | UT | 93129 | 37.7 | -113.1 | 1712 | 4.99 | 6.37 | 7.29 | 6.03 | -7 | 1
SALT LAKE CITY, UT | UT | 24127 | 40.77 | -111.97 | 1288 | 3.58 | 5.89 | 7.21 | 5.26 | -7 | 1
LYNCHBURG, VA | VA | 13733 | 37.33 | -79.2 | 279 | 4.15 | 5.69 | 6.17 | 4.88 | -5 | 1
NORFOLK, VA | VA | 13737 | 36.9 | -76.2 | 9 | 3.83 | 5.39 | 5.89 | 4.63 | -5 | 1
RICHMOND, VA | VA | 13740 | 37.5 | -77.33 | 50 | 3.86 | 5.44 | 5.96 | 4.67 | -5 | 1
ROANOKE, VA | VA | 13741 | 37.32 | -79.97 | 358 | 3.91 | 5.47 | 5.93 | 4.71 | -5 | 1
STERLING, VA | VA | 93738 | 38.95 | -77.45 | 82 | 3.69 | 5.34 | 5.98 | 4.49 | -5 | 1
BURLINGTON, VT | VT | 14742 | 44.47 | -73.15 | 104 | 3.09 | 5.1 | 5.89 | 3.62 | -5 | 1
OLYMPIA, WA | WA | 24227 | 46.97 | -122.9 | 61 | 1.72 | 4.28 | 5.64 | 3.14 | -8 | 1
QUILLAYUTE, WA | WA | 94240 | 47.95 | -124.55 | 55 | 1.86 | 4.06 | 5.06 | 3.14 | -8 | 1
SEATTLE, WA | WA | 24233 | 47.45 | -122.3 | 122 | 1.83 | 4.53 | 5.84 | 3.22 | -8 | 1
SPOKANE, WA | WA | 24157 | 47.63 | -117.53 | 721 | 2.55 | 5.2 | 6.69 | 4.15 | -8 | 1
YAKIMA, WA | WA | 24243 | 46.57 | -120.53 | 325 | 2.78 | 5.65 | 6.97 | 4.57 | -8 | 1
EAU CLAIRE, WI | WI | 14991 | 44.87 | -91.48 | 273 | 3.61 | 5.23 | 5.91 | 3.77 | -6 | 1
GREEN BAY, WI | WI | 14898 | 44.48 | -88.13 | 214 | 3.5 | 5.25 | 5.99 | 3.75 | -6 | 1
LA CROSSE, WI | WI | 14920 | 43.87 | -91.25 | 205 | 3.58 | 5.25 | 6.08 | 3.93 | -6 | 1
MADISON, WI | WI | 14837 | 43.13 | -89.33 | 262 | 3.57 | 5.22 | 6.11 | 3.9 | -6 | 1
MILWAUKEE, WI | WI | 14839 | 42.95 | -87.9 | 211 | 3.33 | 5.12 | 6.14 | 3.95 | -6 | 1
CHARLESTON, WV | WV | 13866 | 38.37 | -81.6 | 290 | 3.07 | 5.04 | 5.77 | 4.2 | -5 | 1
ELKINS, WV | WV | 13729 | 38.88 | -79.85 | 594 | 2.97 | 4.78 | 5.5 | 3.93 | -5 | 1
HUNTINGTON, WV | WV | 3860 | 38.37 | -82.55 | 255 | 3.06 | 5.02 | 5.75 | 4.19 | -5 | 1
CASPER, WY | WY | 24089 | 42.92 | -106.47 | 1612 | 4.33 | 5.77 | 6.91 | 5.24 | -7 | 1
CHEYENNE, WY | WY | 24018 | 41.15 | -104.82 | 1872 | 4.55 | 5.8 | 6.58 | 5.35 | -7 | 1
LANDER, WY | WY | 24021 | 42.82 | -108.73 | 1696 | 4.81 | 6.22 | 6.98 | 5.47 | -7 | 1
ROCK SPRINGS, WY | WY | 24027 | 41.6 | -109.07 | 2056 | 4.42 | 6.01 | 7.08 | 5.48 | -7 | 1
SHERIDAN, WY | WY | 24029 | 44.77 | -106.97 | 1209 | 3.92 | 5.57 | 6.7 | 4.83 | -7 | 1
Rachel Kinoshita - KK6DAC - DRAFT - DO NOT DISTRIBUTE

## SunriseSunset
Julian Day | Julian Century | Geom Mean Anom Sun (deg) | Obliq Corr (deg) | Sunrise Time (LST) | Sunset Time (LST)
2457921.2165 | 0.17457 | 6641.9299 | 23.4349 | 5:48 | 20:33
Adapted from the NOAA Solar Calculation spreadsheet
https://www.esrl.noaa.gov/gmd/grad/solcalc/NOAA_Solar_Calculations_day.xls
Rachel Kinoshita - KK6DAC - DRAFT - DO NOT DISTRIBUTE